## Slide 1: Large-area MCP-based Photo-detectors, Ultra-fast timing, and sub-mm Spatial Resolution (LAPPD)
Henry Frisch
Enrico Fermi Institute, Univ. of Chicago
and HEPD, Argonne National Laboratory

## Slide 2: The 4 `Divisions’ of LAPPD
CV
CV
Hermetic Packaging
CV
CV
Electronics/Integration
MicroChannel Plates
Photocathodes
This talk
See (hear) Klaus Attenkofer’s talk
See Ossy’s talk
See Bob Wagner’s talk

## Slide 3: Outline
The Power of Correlated Time/Space Points
MCP’s, Transmission Lines, and Waveform Sampling
The 4 Determinants of Time Resolution
  Signal/Noise (S/N)
  Analog Band-width (ABW)
  Sampling Rate
  Signal statistics
What is the ultimate resolution at decent area & cost?
Water Cherenkov Counters; PET Cameras; TOF at Colliders; TOF for Fixed Target; Security; and New Ideas

## Slide 4: MCP+Transmission Lines Sampled at Both Ends Provide Time and 2D Space
8” Tiles
10-15 GS/sec Waveform Sampling ASICS
Field Programable Gate Arrays
(not as shown- PC cards will be folded behind the panel- not this ugly…
Single serial Gbit connection will come out of panel with time and positions from center of back of panel

## Slide 5: Time and Space Points
Pulses from the 2 ends of an 8” silk-screened cheap-glass anode strip
5 nsec/div
50 psec/pt

## Slide 6: Reconstructing the vertex space point: Simplest case- 2 hits (x,y) at wall
T1, X1, Y1
T2, X2, Y2
Vertex (e.g. p0->gg)
Tv, Xv, Yv, Zv
Photon 1
Photon 2
Detector Plane
One can reconstruct the vertex from the times and positions- 3D reconstruction

## Slide 7: Good timing alone doesn’t do it-
The ALICE TPC:
Drift electrons onto wires that measure where and when for each electron.
Good time resolution would buy nothing if one integrated over a whole (blue) TPC sector- ie didn’t correlate when and where
when and where
Correlated time and space points allow 3D reconstructions

## Slide 8: Waveform Sample On Ends of Strips
Eric Oberla slide from ANT11

## Slide 9: Extract time, charge, shape each end
Eric Oberla slide from ANT11

## Slide 10: Extract time, position of pulse using time from both ends
Eric Oberla slide from ANT11

## Slide 11: The 4 Determinants of Time Resolution
  Signal/Noise (S/N)
  Analog Band-width (ABW)
  Sampling Rate
  Signal statistics
J.F. Genat, F. Tang, H. Frisch, and G. Varner; Picosecond Resolution Timing Measurements, Nucl. Instr. Meth A607, 387 (2009);
Workshop on The Factors that Limit Time Resolution in Photo-detectors, University of Chicago, April 28-29, 2011
5 nsec/div
50 psec/pt

## Slide 12: Simulation of Resolution vs abw
Jean-Francois Genat
Brown line: 10 Gs/sec (we’ve done >15);
1.5 GHz abw ( we’ve done 1.6); S/N 120 (N=0.75mv, S is app specific)
This (brown) line
This (brown) line
1 ps

## Slide 13: Anode Testing for ABW, Crosstalk,..
Network Analyzer Tile Anode
Herve’ Grabas, Razib Obaid, Dave McGinnis

## Slide 14: Anode Testing for ABW, Crosstalk,..
Herve’ Grabas, Razib Obaid, Dave McGinnis
Tile row assembly of 3 tile anodes – abw >500 MHz

## Slide 15: Anode Testing for ABW, Crosstalk,..
Razib Obaid
Crosstalk
ABW

## Slide 16: The PSEC4 Waveform Sampling ASIC
PSEC4: Eric Oberla and Herve Grabas; and friends…
Eric Oberla, ANT11

## Slide 17
PSEC-4 ASIC
6-channel “oscilloscope on a chip” (1.6 GHz,10-15 GS/s)
Evaluation board uses USB 2.0 interface + PC data acquisition software
LAPPD Collaboration
Eric Oberla, ANT11

## Slide 18: 6-channel `Scope-on-a-chip’
20 GS/scope
4-channels (142K$)
17 GS/PSEC-4 chip
6-channels ($130 ?!)
Real digitized traces from anode
Eric Oberla
(grad student)

## Slide 19
PSEC-4 Performance
Digitized Waveforms
Input: 800MHz, 300 mVpp sine
Sampling rate : 10 GSa/s
Sampling rate : 13.3 GSa/s
Only simple pedestal correction to data
As the sampling rate-to-input frequency ratio decreases, the need for time-base calibration becomes more apparent (depending on necessary timing resolution)
Eric Oberla, ANT11

## Slide 20: Digitization Analog Bandwith
ABW~1.6GHz
3 db loss
PSEC4: Eric Oberla and Herve Grabas+ friends…
Eric Oberla, ANT11

## Slide 21: Noise (unshielded)
PSEC4: Eric Oberla and Herve Grabas+ friends…
RMS=755 microvolts
Full-Scale ~1.2 volts (expect S/N>=100, conservatively)
Eric Oberla, ANT11

## Slide 22: Signal- want large for S/N
We see gains > 107 in a chevron-pair
Ossy Siegmund, Jason McPhate, Sharon Jelinsky, SSL/UCB
ALD by Anil Mane and Jeff Elam, ANL

## Slide 23: Can we go deep sub-picosec?: the Ritt Parameterization (agrees with JF MC)
S/N, fZ: DONE
abw: NOT YET
100 femtosec
Stefan Ritt slide, doctored

## Slide 24: Parallel Efforts on Specific Applications
.
LAPD Detector Development
PET
(UC/BSD, UCB, Lyon)
Collider
(UC, ANL,Saclay.
Mass Spec
Andy Davis, Mike Pellin, Eric Oberla
Non-proliferation
LLNL,ANL,UC
Drawing Not To Scale (!)
ANL,Arradiance,Chicago,Fermilab, Hawaii,Muons,Inc,SLAC,SSL/UCB, UIUC, Wash. U
Explicit strategy for staying on task-
Multiple parallel cooperative efforts
All these need work- naturally tend to lag the reality of the detector development
Neutrinos
(Matt, Mayly, Bob, John, ..; Zelimir)
Muon Cooling
Muons,Inc
(SBIR)
K->pnn
JPARC

## Slide 25: Neutrino Physics
Spec: signal single photon, 100 ps time, 1 cm space, low cost/m2 (5-10K$/m2)*
(Howard Nicholson)

## Slide 26: Daniel Boone
Proposal (LDRD) to build a little proto-type to test photon-TPC ideas and as a simulation testbed
`Book-on-end’ geometry- long, higher than wide
Close to 100% coverage so bigger Fid/Tot volume
Dx, Dy << 1 cm
Dt < 100 psec
Magnetic field in volume
Idea: to reconstruct vertices, tracks, events as in a TPC (or, as in LiA).
n
2 m
2 m
1 m
caps

## Slide 27: Can we build a photon TPC?
Work of Matt Wetstein (Argonne,&Chicago) in his spare time (sic)

## Slide 28: Matt Wetstein; ANL&UC
Works on GEANT events too

## Slide 29: Application to Colliders
At colliders we measure the 3-momenta of hadrons, but can’t follow the flavor-flow of quarks, the primary objects that are colliding. 2-orders-of-magnitude in time resolution would all us to measure ALL the information=>greatly enhanced discovery potential.
t-tbar -> W+bW-bbar-> e+ nu+c+sbar+b+bbar
Specs:
Signal: 50-10,000 photons
Space resolution: 1 mm
Time resolution 1 psec
Cost: <100K$/m2:
A top candidate event from CDF- has top, antitop, each decaying into a W-boson and a b or antib. Goal- identify the quarks that make the jets.

## Slide 30: 2003- Aspen Exptl Summary Talk
Invitation from Joe Lykken and Maria Spiropulu- led to psec TOF

## Slide 31: Colliders: Differential TOF
Rather than use the Start time of the collision, measure the difference in arrival times at the beta=c particles (photons, electrons and identified muons) and the hadrons, which arrive a few psec later.

## Slide 32: Medical Imaging (PET)
Depth in crystal by time-difference
Heejong Kim
Can we solve the depth-of-interaction problem and also use cheaper faster radiators?
Alternating radiator and cheap 30-50 psec planar mcp-pmt’s on each side
Depth in crystal by energy- asymmetry
Simulations by Heejong Kim (Chicago)
Heejong Kim

## Slide 33: Sampling calorimeters based on thin cheap photodetectors with correlated time and space waveform sampling
Proposal: Alternating radiator and cheap 30-50 psec thin planar mcp-pmt’s on each side (needs simulation work)
    Bill Moses (Lyon)

## Slide 34: Cherenkov-sensitive Sampling Quasi- Digital Calorimeters
A picture of an em shower in a cloud-chamber with ½” Pb plates (Rossi, p215- from CY Chao)
A `cartoon’ of a fixed target geometry such as for JPARC’s KL-> pizero nunubar (at UC, Yao Wah) or LHCb

## Slide 35: A `Quasi-digital’ MCP-based Calorimeter
Electron pattern (not a picture of the plate!)- SSL test, Incom substrate, Arradiance ALD. Note you can see the multi’s in both plates => ~50 micron resolution
Note- at high gain the boundaries of the multi’s go away
Idea: can one saturate pores in the the MCP plate s.t.output is proportional to number of pores. Transmission line readout gives a cheap way to sample the whole lane with pulse height and time- get energy flow.
Oswald Siegmund, Jason McPhate, Sharon Jelinsky, SSL (UCB)

## Slide 36: More Information:
Main Page: http://psec.uchicago.edu
Library: Workshops, Godparent Reviews, Image Library, Document Library, Links to MCP, Photocathode, Materials Literature, etc.;
Blog: Our log-book- open to all (say yes to certificate Cerberus, etc.)- can keep track of us (at least several companies do);
The End

## Slide 37: Backup slides

## Slide 38: The 4 `Divisions’ of LAPPD
CV
CV
Hermetic Packaging
CV
CV
Electronics/Integration
MicroChannel Plates
Photocathodes
This talk
See (hear) Klaus Attenkofer’s talk
See (hear) Bob Wagner’s talk
See Bob Wagner’s talk

## Slide 39: The Large-Area Psec Photo-Detector Collaboration

## Slide 40: Microchannel Plates-2
Argonne ALD and test Facilities
In situ measurements of R (Anil)
Femto-second laser time/position measurements (Matt, Bernhard, Razib, Sasha)
33 mm development program
8” anode injection measurements
Anil Mani and Bob Wagner

## Slide 41: Microchannel Plates-3
SSL (Berkeley) Test/Fab Facilities
Ossy Siegmund, Jason McPhate, Sharon Jelenski, and Anton Tremsin-
Decades of experience
(some of us have decades of inexperience?)

## Slide 42: Microchannel Plates-4b
Noise (bkgd rate).
<=0.1 counts/cm2/sec; factors of few > cosmics (!)
Ossy Siegmund, Jason McPhate, Sharon Jelinsky, SSL/UCB
Performance:

## Slide 43: Microchannel Plates-4d
Performance: burn-in (aka `scrub’)
Measurements by
Ossy Siegmund,
Jason McPhate,
Sharon Jelinsky, SSL/UCB
Typical MCP behavior- long scrub-times
Measured ANL ALD-MCP behavior
(ALD by Anil Mane, Jeff Elam, ANL)

## Slide 44: First Pulses From an 8” MCP
Matt Wetstein, Bernhard Adams, Razib Obaid, Sasha Vostrikov (ANL and UC)
From the time difference of the 2 ends of the strip one gets the longitudinal position, from the average of the 2 ends the time (and of course from which strip(s) one gets the transverse position) => so have 2D at wall plus Time-of-Arrival
TOA (psec)
Position of laser (mm)
TrueError bar prob.
like this
(ask Matt)
Note
c= 0.3mm/ps
1/c=3.3 psec/mm

## Slide 45: Photocathodes Subject of next talk by Klaus- touch on here only briefly
LAPPD goal- 20-25% QE, 8”-square
2 parallel efforts: SSL (knows how), and ANL (learning)
ANL
Optical stand
First cathodes made at ANL
Burle commercial
equipment

## Slide 46: Photocathodes- 2 Subject of next talk by Klaus
SSL has years of experience making bialkali photocathodes-
They are our treasury bonds (Swiss francs?) in the LAPPD `portfolio of risk’

## Slide 47: Hermetic Packaging
Top Seal and Photocathode- this year’s priority
Commercial RFI for 100 tiles
(Have had one proposal for 7K- 21K tiles/yr)
Tile Development Facility at ANL
Production Facility at SSL/UCB
3 parallel paths

## Slide 48
The End